| Barrel-1 (13W LED) |  |  | LEGEND | QTY |
| --- | --- | --- | --- | --- |
| LOCATION | - |  |  |  |
| LUMINAIRE DESCRIPTION: Barrel-1 (13W LED) IP65 Surface Mounted Downlight c/w Lamp and Non-Dim Driver. |  |  |  |  |
| IMAGES / DIMENSIONS |  |  |  |  |
| TECHNICAL SPECIFICATION |  |  |  |  |
| Brand / Model : BARREL-1 Luminous Source : 1 X 13W COB LED Luminous Output : 1,340 LUMENS PER LUMINAIRE Color Temperature : 3000K / 4000K / 5000K Avg Luminous Life : 50,000 BURNING HOURS Control Gear : INTEGRAL NON-DIM LED DRIVER Material : ALUMINIUM Diffuser : CLEAR GLASS COVER IP Rating : IP 65 |  |  |  |  |