LUMINAIRE DATA SHEET


	EUROTEC OPR-40W
	LEGEND
	QTY

	
	
	

	LOCATION
	- 

	LUMINAIRE DESCRIPTION: EUROTEC OPR-40W Linear recessed aluminum fixture (1200mm) with Opal UV-Stablished polycarbonate diffuser c/w 40W LED modules and Non-Dim Driver.

	IMAGES / DIMENSIONS

	[image: image1.png]EUROTEC-OPR




	[image: image2.png]Wllh GOOOK /4000K / 6500K Colour Selection

Linkable
Connection

EUROTEC-OPR





	[image: image3.png]



	

	TECHNICAL SPECIFICATION

	Brand / Model
:  EUROTECH OPR-40W
Lamp Source
:  40W LED MODULES
Lamp Output
:  3,052 LUMENS
Avg Lamp Life
:  50,000 BURNING HOURS
Control Gear
:  BUILT-IN NON-DIM DRIVER
Housing Material
:  ALUMINIUM EXTRUSION HOUSING
Diffuser
:  OPAL POLYCARBONATE COVER
IP Rating
:  N.A

	


