LUMINAIRE DATA SHEET


	ADAM-LITE JMF 240 LED
	LEGEND
	QTY

	
	
	

	LOCATION
	- 

	LUMINAIRE DESCRIPTION: Adamlite JMF240 AC 600x1200 recessed fitting with mirror louvres with aircon slot c/w 2x18W Philips T8 Corepro LED Tubes

	IMAGES / DIMENSIONS

	[image: image1.png]1222

1195 i





	[image: image2.png]




	[image: image3.png]



	

	TECHNICAL SPECIFICATION

	Brand / Model
:  ADAM-LITE / JMF240
Lamp Source
:  2 X 18W PHILIPS T8 COREPRO LED TUBES
Lamp Output
:  2,100 LUMENS PER LAMP

Avg Lamp Life
:  50,000 BURNING HOURS
Housing Material
:  ELECTRO-GALVANISED STEEL SHEET
Reflector
:  DOUBLE-PARABOLIC MIRROR LOUVRE 

IP Rating
:  N.A

	


