LUMINAIRE DATA SHEET


	AEROLITE JZ58267
	LEGEND
	QTY

	
	
	

	LOCATION
	- 

	LUMINAIRE DESCRIPTION: AEROLITE JZ58267 (15W LED) IP65 Die-Cast Aluminium Wall Recess Ramp Lighting Fixture c/w Lamp LED Driver.

	IMAGES / DIMENSIONS

	[image: image1.png]130
110





	[image: image2.png]





	TECHNICAL SPECIFICATION

	Brand / Model
:  AEROLITE / JZ58267
Lamp Source
:  15W LED
Avg Lamp Life
:  50,000 BURNING HOURS
Control Gear
:  LED DRIVER
Material
:  DIE-CAST ALUMINIUM
Diffuser
:  GLASS DIFFUSER
IP Rating
:  IP65


	


