LUMINAIRE DATA SHEET


	TIVOLI-MV
	LEGEND
	QTY

	
	
	

	LOCATION
	- 

	LUMINAIRE DESCRIPTION: Tivoli-MV linear outdoor Aluminum Led fixture (IP65) Length 1000mm c/w 1 x 24W Led lamp and remote loose driver.

	IMAGES / DIMENSIONS

	[image: image1.png]Linear LED Floodiight IP65

TIVOLI-MV

Standard length - 500mm, 12W, 800Im

- 1000mm, 24, 1600im
Supply i remote diver)






	[image: image2.png]



	[image: image3.png]




	TECHNICAL SPECIFICATION

	Brand / Model
:  CITYMATIC / TIVOLI-MV
Lamp Source
:  1 X 24W LED MODULES

Lamp Output
:  1,600 LUMENS 
Avg Lamp Life
:  50,000 BURNING HOURS
Control Gear
:  REMOTE NON-DIM DRIVER
Housing Material
:  EXTRUDED ALUMINIUM BODY
Diffuser
:  HEAT TEMPERED GLASS

IP Rating
:  IP65

	


