LUMINAIRE DATA SHEET


	VIRGO-SS
	LEGEND
	QTY

	
	
	

	LOCATION
	- 

	LUMINAIRE DESCRIPTION: Virgo-SS Weatherproof (IP65) Cylindrical Die-Cast Aluminum Unidirectional Wall light with 3mm Thick Tempered Glass Diffuser c/w 1x8W E27 Led Bulb.

	IMAGES / DIMENSIONS

	[image: image1.png]{01

i





	[image: image2.png]




	[image: image3.png]Luminous Intensity Distribution Curve:





	

	TECHNICAL SPECIFICATION

	Brand / Model
:  VIRGO-SS
Lamp Source
:  1 X 8W E27 LED LAMP
Lamp Output
:  770 LUMENS PER LAMP
Avg Lamp Life
:  15,000 BURNING HOURS

Control Gear
:  BUILT-IN LED DRIVER

Housing Material
:  DIE-CAST ALUMINIUM BODY
Diffuser
:  CLEAR TEMPERED GLASS COVER
IP Rating
:  IP65

	


